## Slide 1
Demand
Transmission
Distribution
Conventional Generation
System control
Dispatch
Grid stability
Integrated Monopoly
without Renewables
Power flow
Control flow

## Slide 2
Demand
Transmission
Distribution
Conventional Generation
System control
Dispatch
Grid stability
Integrated Monopoly
with own Renewables
Renewable Generation
Power flow
Control flow

## Slide 3
Demand
Transmission
Distribution
Conventional Generation
System control
Dispatch
Grid stability
Integrated Monopoly
with own Renewables and Consumer Producers
Renewable Generation
Power flow
Control flow
Consumer producer

## Slide 4
Demand
Transmission
Distribution
Conventional Generation
System control
Dispatch
Grid stability
Integrated Monopoly with own
Renewables
plus IPPs with Renewables
Renewable Generation
Power flow
Control flow
Renewable Generation
(IPPs)

## Slide 5
Consumer producer
Transmission
Distribution
Conventional Generation
System control
Dispatch
Grid stability
Integrated Monopoly with Own
Renewables
plus Consumer Producers
Renewable Generation
Power flow
Control flow
Consumer

## Slide 6
Consumer producer
Transmission
Distribution
Conventional Generation
System control
Dispatch
Grid stability
Integrated Monopoly with Own
Renewables
plus IPPs with Renewables
and Consumer Producers
Renewable Generation
Power flow
Control flow
Renewable Generation
(IPPs)
Consumer

## Slide 7
Consumer producer
Transmission
Distribution
Conventional Generation
System control
Dispatch
Grid stability
Integrated Monopoly with Own
Renewables and Central Storage
plus IPPs with Renewables
and Consumer Producers
Renewable Generation
Power flow
Control flow
Renewable Generation
(IPPs)
Consumer
Central Storage

## Slide 8
Consumer producer
Transmission
Distribution
Conventional Generation
(Integrated Utility)
System control
Dispatch
Grid stability
Integrated Utility with Own
Renewables
plus IPPs with Conventional Generation and Renewables
and Consumer Producers
Renewable Generation
(Integrated Utility)
Power flow
Control flow
Renewable Generation
(IPPs)
Consumer
Conventional Generation
(IPPs)

## Slide 9
Consumer producer
Transmission
Distribution
Conventional Generation
(Integrated Utility)
System control
Dispatch
Grid stability
Integrated Utility with Own
Renewables and Central Storage
plus IPPs with Conventional Generation and Renewables
and Consumer Producers
Renewable Generation
(Integrated Utility)
Power flow
Control flow
Renewable Generation
(IPPs)
Consumer
Central Storage
(Integrated Utility)
Conventional Generation
(IPPs)

## Slide 10
Consumer producer
Transmission
Distribution
Conventional Generation
(Integrated Utility)
System control
Dispatch
Grid stability
Integrated Utility with Own
Renewables
plus IPPs with Conventional Generation, Storage and Renewables
and Consumer Producers
Renewable Generation
(Integrated Utility)
Power flow
Control flow
Renewable Generation
(IPPs)
Consumer
Central Storage
(IPP)
Conventional Generation
(IPPs)

## Slide 11
Consumer producer
Transmission
Distribution
Conventional Generation (IPPs)
System control
Dispatch
Grid stability
Unbundled Generation
with IPPs and Consumer Producers
Transmission, Distribution, Central Storage and Control
as Remaining Monopoly
(Wholesale Competition)
Renewable Generation
(IPPs)
Power flow
Control flow
Consumer
Central Storage
Private
Enterprise
Monopoly

## Slide 12
Consumer producer
Transmission
Distribution
Conventional Generation
System control
Dispatch
Grid stability
Full Unbundling
with IPPs and Consumer Producers
Transmission, Distribution and Control
as Separate Monopolies
Power flow
Control flow
Renewable Generation
Consumer
Monopoly
Private
Enterprise
Central Storage
(IPPs)

## Slide 13
BBD/kWh
MW
50
100
150
200
250
Merit order of Barbados’ power supply in 2016

## Slide 14
BBD/kWh
MW
50
100
150
200
250
Minimum load at night
Maximum load of the year
Reserve capacity
Merit order and system load of Barbados’ power supply in 2016

## Slide 15
BBD/kWh
MW
50
100
150
200
250
Minimum load at night
Maximum load of the year
Reserve capacity
Merit order and system load of Barbados’ power supply in 2016
conversion of 30 MW diesel with best heat rate to gas diesel
Cost increase

## Slide 16
BBD/kWh
MW
50
100
150
200
250
Minimum load at night
Maximum load of the year
Reserve capacity
Merit order and system load of Barbados’ power supply in 2016
plus new 30 MW gas-diesel with best heat rate
High investment cost no business case
2210 hours of full load operation
and 3880 hours of partial load

## Slide 17
BBD/kWh
MW
50
100
150
200
250
Minimum load at night
Maximum load of the year
Reserve capacity
Merit order and system load of Barbados’ power supply plus new 30 MW IPP

## Slide 18
BBD/kWh
MW
50
100
150
200
250
Minimum load at night
Maximum load of the year
Reserve capacity
Merit order and system load of Barbados’ power supply plus new 30 MW IPP

## Slide 19
BBD/kWh
MW
50
100
150
200
250
Minimum load at night
Maximum load of the year
Reserve capacity
Merit order and system load of Barbados’ power supply plus two new 30 MW IPPs

## Slide 20
BBD/kWh
MW
50
100
150
200
250
Minimum load at night
Maximum load of the year
Reserve capacity
Merit order and maximum (day) system load of Barbados’ power supply in 2016 plus 15 MW wind and 65 MW PV

## Slide 21
BBD/kWh
MW
50
100
150
200
250
Minimum load at night
Maximum load of the year
Reserve capacity
Merit order and minimum (night) system load of Barbados’ power supply in 2016 plus 15 MW wind